| RI.SE 0402 |  | CE marking, consisting of the “CE”-symbol Identification number of the notified test laboratory |
| --- | --- | --- |
| AnyCo Ltd, PO Box 21, B-1050, Brussels, Belgium 18 00001-CPR-2013/05/12 |  | name and the registered address of the manufacturer, or identifying mark Last two digits of the year in which the marking was first affixed Reference number of the DoP |
| EN 13241-1:2003+A2:2016 Product A intended to be used in (e.g. curtain walling, fire compartmentation, etc.) water thightness: Class: resistance to wind load: Class: thermal resistance: W/m2K air permeability: Class: Dangerous substances: Pass Safe opening: Pass Definition of geometry of glass components: Pass Mechanical resistance & stability: Pass Operating forces (power operated doors) < 400N Durability of water tightness, thermal resistance & air permeability: 100.000 cycles |  | No. of European standard applied, as referenced in OJEU (see note 14) Unique identification code of the product-type Intended use of the product as laid down in the European standard applied Level or class of the performance declared |

Power operated doors also compliance:

2006/42/EC (MD)

2014/30/EU (EMCD)